## Tabelle1
Fill in the orange boxes
1) Cell number determination with hemocytometer (Neubauer chamber) | [6 empty] | Hemocytometer
• Distribution of cell in individual squares should be similar
Square 1x1 mm | No. Of Cells |  |  | Dilution | *) Dilution factor |  | • Count ≥ 25 cells per square, (field red if < 25 cells)
I |  |  |  | none | 1 |  | • Stock solution remains undiluted
II |  |  |  | 1+1 | 2
III |  |  |  | 1+2 | 3
IV |  |  |  | 1+3 | 4
Mean Value | #DIV/0! |  |  | 1+4 | 5
Dilution Factor*) |  |  |  | 1+5 | 6
Cells/mL | #DIV/0! | Stock Solution |  | 1+6 | 7
|  |  |  | 1+7 | 8
|  |  |  | 1+8 | 9
|  |  |  | 1+9 | 10
2) Dilution for C200 ̶ 6-well | [6 empty] | Dilutions for different chip formats
Typically, 100-5000 cells/microwell are seeded | [6 empty] | • If volume field turns red, the concentration of cells is too low for the chosen number of cells/microwell • The required volume for one 6-well plate is multiplied by 6.5 to compensate for pipetting errors • The required volume for one 24-well plate is multiplied by 26.5 to compensate for pipetting errors
|  |  | per chip |  | per 6-well plate
Cells/mL | Cells/ microwell | Required cells | Vol stock [mL] | add cell culture medium [mL] | Vol stock [mL] | add cell culture medium [mL]
#DIV/0! |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Vol stock [µL] |  | Vol stock [µL]
|  |  | #DIV/0! |  | #DIV/0!
3) Dilution for C880 ̶ 6-well
Typically, 0.35-1000 cells/microwell are seeded
|  |  | per chip |  | per 6-well plate
Cells/mL | Cells/ microwell | Required cells | Vol stock [mL] | add cell culture medium [mL] | Vol stock [mL] | add cell culture medium [mL]
#DIV/0! |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Vol stock [µL] |  | Vol stock [µL]
|  |  | #DIV/0! |  | #DIV/0!
4) Dilution for C680 ̶ 24-well
Typically, 1-500 cells/microwell are seeded
|  |  | per chip |  | per 24-well plate
Cells/mL | Cells/ microwell | Required cells | Vol stock [mL] | add cell culture medium [mL] | Vol stock [mL] | add cell culture medium [mL]
#DIV/0! |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Vol stock [µL] |  | Vol stock [µL]
|  |  | #DIV/0! |  | #DIV/0!